## Ab
PROPOSED 'KITCHEN FACILITY'
FOR THE AKSHAYAPATRA FOUNDATION,
SITE NO. 72/19-6,
SITUATED AT RAJAJINAGAR
INDUSTRIAL SUBURB, BENGALURU.
SANITARY - PLUMBING WORKS.
Quotation
S.NO. | Description of Item | Quantity | Unit | Rate | Amount
Ground Floor:
1 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 2 | Nos
2 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm or 340x410x265 mm sizes respectively. | 3 | Nos
3 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 4 | Nos
4 | Providing and fixing CI / PVC Nahani trap of approved make conforming to ISI specifications and construction of Cistern in CC 1:2:4 as per directions (Rate is inclusive of cost of materials and fixtures and conveyance of materials to work spot). 100x75mm including grating | 10 | Nos
5 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 4 | Nos
6 | P/F 150 X 150 mm S.S. Industrial floor trap (Amul trap) including fixing in position as per details. | 4 | Nos
7 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 4 | Nos
8 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 g. | 4 | Nos
9 | P/F Chorinated Poly chloride (CPVC) pipes conforming to IS 15778, having thermal stabilty for hot and clod water supply inclding all CPVC plain and brass threaded fittings. This includes jointing of pipes and fittings with one setp CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in charge. - External Works
a). | 20 mm dia: | 50 | Rmt
b). | 25 mm dia: | 50 | Rmt
c). | 32 mm dia: | 50 | Rmt
d). | 50 mm dia: | 100 | Rmt
10 | P/F. S.S. Pipes (304 grade, schedule 10 aproved make) with specials such as tee, bend, elbow, socket, reducing sockets, union, collers etc. as required including cutting, welding/ threading etc. complete for soft water lines.
a). | 40 mm dia. | 60 | Rmt.
b). | 65 mm dia. | 60 | Rmt.
11 | P/F. I.S.I. Approved make, S.S. Ball valves, fixing in the water supply lines with threaded joints.
a). | 40 mm dia. | 15 | Nos
b). | 65 mm dia. | 2 | Nos
12 | P/F. UPVC or equivalent approved make Pipes (Supreme or equivalent make) with malleable G.I. 'R' brand specials such as tee, bend, elbow, socket, reducing sockets, union, collars etc. as required including cutting, threading and fixing with necessary plumbers gum, making earthwork excavation and re-filling or making wall grooves and re-doing after testing, providing 2-coats of tar paint for all G.I. specials laid underground or concealed pipe line etc. complete.
a). | 65 mm dia. | 100 | Rmt
b). | 50 mm dia: | 100 | Rmt
c). | 40 mm dia: | 50 | Rmt
d). | 32 mm dia: | 50 | Rmt
13 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 | 10 | Nos
14 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | 10 | Nos
15 | Providing and fixing PTMT pillar cock of approved quality and colour. 15 mm nominal bore, 125 mm long foam flow, weighing not less than 120 g | 4 | Nos
16 | Providing & fixing chrome plated brass battery based infrared sensor operated pillar cock, having foam flow technology. | 4 | Nos
17 | Rigid PVC soil pipes
a) | KSRB13-8.6: Providing and fixing to wall, ceiling and floor, high density polyethylene pipes 6.00kgf/sq.cm working pressure 110mm outside diameter with special flange, compression type fittings, wall clips, making good the wall, ceiling and floor including cost of all materials, labour charges, HOM of equipments and testing complete as per specifications. | 30 | Rmt
b) | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes 75 mm diameter | 50 | Rmt
18 | Providing and laying Eco drain pipes (Supreme or equivalent) with necessary specials like bends, wooden plugs including Laying in position PCC M7.5 20mm and down size graded granite metal, machine mixed concrete laid in layers not exceeding 15 cms thick, well compacted, scaffolding including the cost of materials, labour charges, HOM of machinery, curing completely as per specifications etc., as per directions.
a). | 160mm Dia | 135 | Rmt
b). | 110 mm dia: | 50 | Rmt
19 | Providing and laying in position plain cement concrete M7.5 20mm and down size graded granite metal, machine mixed concrete laid in layers not exceeding 15 cms thick, well compacted, for covering the pipe line (haunching concrete) including the cost of materials, labour charges, HOM of machinery, curing completely as per specifications
a). | 160mm Dia | 135 | Rmt
b). | 100 mm dia: | 50 | Rmt
20 | Providing and fixing PVC (S.W.R) Gully Trap 10cms x 10cms with all fitting arrangements & all necessary accessories complete | 5 | Nos
21 | Constructing brick masonry inspection chamber 455x610mm, and 450mm depth, (clear inside dimension) for single pipeline, using table moulded non-modular bricks of class designation 50 in cement mortar 1:5, C.I. cover with frame (light duty) 455x610mm internal dimensions, total weight of cover with frame to be not less than 38 Kg (Weight of cover 23Kg and weight of frame 15Kg) R.C.C. top slab with cement concrete 1:2:4 mix 20mm and downsize granite metal, foundation concrete 1:5:10 with 40mm and downsize granite metal inside plastering 12mm thick with cement mortar 1:3, finish smooth with a floating coat of cement on walls and bed concrete complete as per standard design including cost of materials, labour charges, curing complete as per specifications.
a). | 450 X 450 X Upto 600mm Depth | 10 | Nos
b). | 600 X 600 X Upto 600mm Depth | 5 | Nos
c). | 500 X 700 X Upto 750mm Depth | 2 | Nos
22 | --do-- for Screen chambers with 2 mm thk SS perforated 316 grade strainer as per details.
a). | 600 X 600 X 750-900 | 5 | Nos
23 | Providing and fixing Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works including cost of materials, labour, usage charges of machinery complete as per specifications and as per directions of the Engineer-in-Charge. For M.S Chamber covers.
a). | 450 X 450 X450-600 | 250 | Kg.
b). | 600 X 600 X 600 -750 | 125 | Kg.
c). | 750 X 750 X 750 -900 | 50 | Kg.
24 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : 610x510 mm bowl depth 200 mm | 2 | Nos
25 | S S Box Channel made out of 1.27 mm thk Stainless steel-304 grade drain with centre outlet ; hygenic gully with foul air trap , horizontal outlet DN100 ; Perforated , removeable S S lid of 1.50 mm thick, load class A15; silt basket; Material;SS304.
a) | 1030x300mm | 22 | Nos
b) | 2000X300mm | 2 | Nos
26 | Providing and fixing stainless steel knee operatated hand wash as per manufactures details. | 2 | Nos
27 | Providing and fixing PTMT Soap Dish Holder having length of 138mm, breadth 102mm, height of 75mm with concealed fitting arrangements, weighing not less than 106 g. | 6 | Nos
28 | Providing and fixing stainless steel (Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners, stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 50 | Kg
29 | Providing & fixing S.S. Handwash trough 450mm wide made out of 304 grade, 1.00mm thick s.s. sheets with waste connections etc complete as per details. | 5 | Rmt.
30 | Providing and fixing rectangular high density polythylene water storage loft tank with cover, conforming to ISI : 12701, colour of opaque white or as approved by Engineer-in-charge. The rate includes making ncessary holes for inlet, outlet & over flow pipes. The base support i/c fittings & fixures for tank shall be paid seperately. | 5000 | Litres
31 | P/F. 20mm th. m/c & Mirrior polished granite slab counter for wash basins/ S.S.Sinks / cooking Kitchen platform & any other such works, edges rounded & miror polished with 25mm th. Kota support works as per details. | 2 | Sqm.
32 | Providing and fixing 3-5 H.P hydro pneumatic pump system including pressure tank of required capacity, Dry run protection, required automation to start working on lower the pressure, Pressure sensor, suction header with strainer & foot valve of size 65mm suction and 65mm deliver, including cost of all materials, labour charges, HOM of equipments and testing complete as per specifications. The pump should be SS trolley mounted in built control panel with starter. the pump should be suitable for outdoor installation (Equivalent to IP 66) Protection (1 Set = 1W+ 1S) Note: The pump shall work automatically sooner the line pressure drops. the disharge line shall have pressure switch to integrate with contractor panel to start pumps automatically. | 2 | Set
33 | Providing and fixing water meter with strainer, stop cock, jam nut, socket in G.I pipe line including cutting and threading the pipe and making long screws including cost of all materials, labour, HOM of equipments and testing complete as per specifications.Specification No.KBS 13.2.19/13.16 | 5 | Nos
TOTAL
GST
GRAND TOTAL OF PHE WORS