| ELECTRICAL CONSULTANT : POORNA ENGINEERING CONSULTANTS |  |  |
| --- | --- | --- |
| LIST OF APPROVED MAKES FOR ELECTRICAL ITEMS |  |  |
| SL NO. | DESCRIPTION | APPROVED MAKES |
|  | HT EQUIPMENT |  |
| 1.0 | Oil filled Transfomer | : Kirloskar / Universal / PETE / Voltamp |
| 2.0 | LBS | : Schnieder / ABB / GE |
| 4.0 | HT Panels / RMU | : Schnieder / ABB / GE |
| 5.0 | HT Cable Termination | : Raychem / Birla 3M |
| 6.0 | Protective Relays | : Alsthom / Easun Reyrolle / JVS Electronics |
| 7.0 | HT Cables | : Unistar - Universal / Havells / Poly cab |
|  | LT EQUIPMENT |  |
| 1.0 | MCCBs | : Legrand / ABB / Schneider |
| 2.0 | MCBs | : Legrand / ABB / Schneider |
| 3.0 | RCBO / RCCB | : Legrand / ABB / Schneider |
| 4.0 | MCB Distribution Board | : Legrand / ABB / Schneider |
| 5.0 | Change Over Switch | : L & T / Legrand / ABB |
| 6.0 | CTs / PTs | : Kappa / Kalpa / Voltamp |
| 7.0 | Automatic Transfer Switch | : Asco / Socomec / equivalent |
| 8.0 | starters | : C & S / L & T / ABB |
| 9.0 | Earth Leakage Relay with CBCT | : PROK DV'S / equivalent |
| 10.0 | Indicating Lamps | : L&T / BCH / VAISHNO |
| 11.0 | Measuring instruments | :L&T/KAPPA/Conserve |
| 12.0 | Power Contactors | : L & T/ Legrand / ABB |
| 13.0 | Auxillary Contactors | : L & T/ Legrand / ABB |
| 14.0 | Industrial Sockets | : Legrand / Hensel / Meneekes |
| 15.0 | Relays | : Seimens |
| 16.0 | LT Cables | : Bonton / Polycab / Finloex / KEI |
| 17.0 | Cable glands | : Dowells / Equivalent |

| SL NO. | DESCRIPTION | APPROVED MAKES |
| --- | --- | --- |
| 18.0 | Cable Lugs | : Dowells / Equivalent |
| 19.0 | PVC conduit & Accessories | : Precision / VIP / Universal |
| 20.0 | GI conduit & Accessories | : Precision / AKG / BEC |
| 21.0 | MS Conduits | : Bharat / Supreme |
| 22.0 | PVC insulated Coppe wires | : Bonton / Polycab / Finloex / KEI |
| 23.0 | Switches / Sockets | : Anchor roma / Schneider Opale / MK |
| 24.0 | Ceiling Rose , Batten Holders, Pendant & Angle Holders | : Anchor / Lisha |
| 25.0 | Ceiling fan | :CG / Havells / Usha |
| 26.0 | Light Fixutres & Luminaires | :Crompton Greaves/ Wipro /Panasonic |
| 27.0 | Cable Trays | :OBO/Profab/Indiana |
| 28.0 | Raceways & Junction box | :OBO/ MK / legrand |
| 29.0 | Earthing electrodes | : Ashlok/Galaxy |
| 30.0 | Weather proof enclosure | :Hensel/Mennekes/ Legrand |
| 31.0 | Control Station | :Schneider / Equivalent |
| 32.0 | Push button | : L&T/ Vaishnav / Teknic |
| 33.0 | HDPE pipe | : Telerex /equivalent |
| 34.0 | Rubber Mats | : Dunlop/Hi-tech |
| 35.0 | Fire Extinguishers | : Minimax / Firepro / Ceasefire |
| 36.0 | PVC Channels | :Salzer ( L& T) |
| 37.0 | Reinforced Flexible PVC Pipes | :Finolex |
| 38.0 | Telephone Cables | :Finolex / Delton/ Ravicab/ RR Kables / Polycab |
| 39.0 | TV Coaxial cables | :Finolex / Polycab |
| 40.0 | CAT 6 cable | :R & M/ Schneider / Legrand |
| 41.0 | EPABX | :Seimens / BPL / BEC / Matrix |
| 42.0 | CCTV Camera | :Hikvision / Panasonic /Samsung |
| 43.0 | NVR | :Hikvision / Panasonic /Samsung |
| 44.0 | Terminals | :Elmex |

| SL NO. | DESCRIPTION | APPROVED MAKES |
| --- | --- | --- |
| 45.0 | Network switches | : HP / Belden / Netgear / Cisco |
| 46.0 | IT Racks | : APW / APC / Valrack / Rittal |
| 47.0 | Patch panels & cords | :R & M / Amphenol / Legrand |
| 48.0 | Speakers, PA system | Honey well / Bosch / Bose |
| 49.0 | UPS | : Emerson / Numeric / APC / Delta |
| 50.0 | DG set | : Cummins / Kirloskar / Greaves |
|  | Note : All materials supplied shall have ISI mark |  |